{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["采购计划"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"采购计划","index":0,"n_rows":17,"n_cols":5,"rows_kept":17,"merged":[[0,0,0,4],[16,2,16,4],[17,3,17,4]],"flags":["formulas_cached_only"]}
["好当家集团新能源所需物资，现将近期所需对外采购物资明细列出，材料部分明细表如下："]
["支架","41*52*2.0（锌铝镁275克）/6米/只","只",2572,"安装光伏用"]
["U型卡","2平2弹2母（热镀锌）","套",9143,"安装光伏用"]
["角连接","四孔三角尺寸150*65*3.0厚","个",5600,"安装光伏用"]
["底座","底座150*65*5.0厚，立柱3.0厚，孔距120","个",2800,"安装光伏用"]
["方管","40*40*2.0mm方管（锌铝镁275克）","只",915,"安装光伏用"]
["直连接","直连接50高*3.0厚","个",2858,"安装光伏用"]
["螺丝螺母","10*80，2平1弹1母（组装配套）（热镀锌）","套",13715,"安装光伏用"]
["螺丝螺母","10*30,2平1弹1母（组装配套）（热镀锌）","套",30530,"安装光伏用"]
["并网柜","GGD，400KW。一进4出（120KW*4），4P开关","台",5,"安装光伏用"]
["开关柜","800A断路开关*2个+外箱","台",4,"安装光伏用"]
["485通讯线","双绞屏蔽线户外用（2芯*0.5平方）","米",1429,"安装光伏用"]
["电缆","VV3*50+1","米",200,"安装光伏用"]
["电缆","VV3*16+1","米",200,"安装光伏用"]
["电子式三相预付费双向电能表","DTSY1886  3*220/380V  3*1.5(6）A","块",6,"安装光伏用"]
[]
[null,null,"有意向者请联系：13361169066孙"]